## READ ME
EV Charging Road Map
ChargeYYC Pilot Program - Phase 1
May 2025
Introduction
An EV Charging Road Map is a customized plan for a specific Property that recommends a solution for installing electric vehicle (EV) charging in the Property. The professional costs associated with developing the EV Charging Road Map are eligible for a rebate through the Program. The purpose of this template is to provide a place for Qualified Professionals to enter the required information as part of the Charge YYC Pilot Program - Phase 1. Use of this template is voluntary. If you choose not to use this template, please note that your EV Charging Road Map MUST be organized using the five section headings and bullet point sub-headings described in the EV Charging Roadmap Requirements document at calgary.ca/chargeyyc. All required fields for a complete EV Charging Road Map are included in this template. Please note: - Filling in this template does not guarantee a rebate. The rebate is contingent upon submitting a completed EV Charging Road Map and successful evaluation by The City. - A complete EV Charging Road Map must be returned to The City within six months of pre-qualification approval. For more information, please refer to the Program Terms & Conditions and EV Charging Road Map Requirements at calgary.ca/chargeyyc.
Navigating this Template
This template is split into four sheets, as listed along the bottom of this spreadsheet. To navigate to the different sheets, simply click on the sheet you would like to access.
Tabs & Sections:
READ ME
Contact & Property Info
1. Property Information
2. Resident Survey Summary + Needs Assessment
3. Electrical Capacity
4. 5-Year Solution
5. 100% Solution

## Contact & Property Info
EV Charging Road Map
ChargeYYC Pilot Program - Phase 1
May 2025
1. Property Information
In this section, please provide basic property and applicant contact information. Enter information into the blue boxes, as applicable.
Property Address |  |  | Type of Property
Number of Residential Units |  |  | Type of Parkade (indoor and/or outdoor)
Number of Parking Stalls |  |  | Number of Existing EV Chargers
| Number | Indoor and/or Outdoor | Level 1:
Residential assigned |  |  | Level 2:
Residential unassigned
Visitor
Commercial
Property Owner/Condominium Corporation Contact Information |  |  | Property Management Contact Information (if applicable)
Name |  |  | Name
Address |  |  | Address
Email |  | Phone | Email | Phone
Qualified Professional Contact information
Company Name
Address
Qualified Professional Name
Email Address |  | Phone
Qualified Professional's Declaration
Electronic Signature for Qualified Professional |  |  | License number:
Note: A stamped letter including the Permit to Practice must accompany the submission of this Excel version of the EV Charging Road Map.
2. Resident Survey Summary + Needs Assessment
In this section, enter the summarized data received from the resident survey. Please fill out each data field, the last field being optional. This is a space to provide any additional information you may wish to share.
General Information |  |  | Driving distance
Average number of vehicles per unit in the Property: |  |  | Average daily km that Property residents drive on a typical weekday:
Number of existing EVs among residents in the Property: |  |  | Average daily km that Property residents drive on a typical weekend day:
Proportion of units where residents in the unit are owners vs. where the residents are renters: |  |  | Average annual km that Property residents drive:
Average number of parking stalls per unit:
Number of units where residents are considering purchasing an EV in the next five years:
Visitor Parking Use
Average number of visitors (who drive) to each unit per month:
Average number of hours that visitors use parking stalls per visit:
Additional information (optional)
3. Electrical Capacity
Please fill in the following cells to report the Property's electrical capacity. Both values should be calculated as per the current edition of the Canadian Electrical Code.
Existing electrical main service size in the Property (in kW):
Spare electrical capacity in the Property prior to additional EV charging installation (in kW):

## 5-Year Solution
EV Charging Road Map
ChargeYYC Pilot Program - Phase 1
May 2025
4. Recommended 5-Year Solution
In this section, please provide a summary of the Recommended 5-Year Solution by providing answers to each of the questions below. Please fill in each blue box.
How many chargers are recommended, at which stalls, and what types?
Please provide rationale for the recommendation (informed by Section 2).
Is the existing service sufficient for this solution? Why? If not, please provide the itemized details of the service upgrades that are required.
How many existing EV chargers will be integrated into the new EV charging system? Please include a load analysis and the effect on the main distribution panel/systems.
Please provide the conditions of the existing telecom/network infrastructure and assessment of if/how it can handle the new EV charging equipment.
Please provide a high-level cost estimate (in 2025 dollars) associated with the permitting, electrical, telecom, and network hardware and infrastructure that is required for this solution.
Please list specific products that are compatible with the recommended solution for EV chargers and EVEMS (if applicable).
Please provide the estimated charger performance per average EV in the Property post-implementation (include minimum kW and km charged/hour).
Post-implementation of the recommended solution, please provide the Property's expected main service size (in kW) and spare electrical capacity (in kW), calculated as per the current edition of the Canadian Electrical Code.
Post-implementation electrical main service size of the Property (in kW):
Post-implementation spare electrical capacity of the Property (in kW):
Please provide recommendations for how the Property owner(s) will charge residents for EV charging and the recommended maintenance schedule and responsibilities.
Please provide any additional information that is important for this recommendation (optional).

## 100% Solution
EV Charging Road Map
ChargeYYC Pilot Program - Phase 1
May 2025
5. Recommended 100% Retrofit Solution
In this section, please provide a summary of the Recommended 100% Retrofit Solution by providing answers to each of the questions below. The 100% Retrofit Solution should build off of the Recommended 5-Year Solution. Please fill in each blue box. Note: This section is not necessary if the Recommended 5-Year Solution is a full retrofit of all parking spaces.
How many chargers are recommended, at which stalls, and what types?
Please provide rational for the recommendation (informed by section 2).
Is the existing service sufficient for this solution? Why? If not, please provide the itemized details of the service upgrades that are required.
How many existing EV chargers will be integrated into the new EV charging system? Please include a load analysis and the effect on the main distribution panel/systems.
Please provide the conditions of the existing telecom/network infrastructure and if it can handle the new EV charging equipment.
Please provide a high-level cost estimate (in 2025 dollars) associated with the permitting, electrical, telecom, and network hardware and infrastructure that is required for this solution.
Please list specific products that are compatible with the recommended solution for EV chargers and EVEMS (if applicable).
Please provide the estimated charger performance per average EV in the Property post-implementation (include minimum kW and km charged/hour).
Post-implementation of the recommended solution, please provide the Property's expected main service size (in kW) and spare electrical capacity (in kW), calculated as per the current edition of the Canadian Electrical Code.
Post-implementation electrical main service size of the Property (in kW):
Post-implementation spare electrical capacity of the Property (in kW):
Please provide recommendations for how the Property owner(s) will charge residents for EV charging and the recommended maintenance schedule and responsibilities.
Please provide any additional information that is important for this recommendation (optional).